IT05: Robotics and Automatic Control ロボット工学と自動制御

Quiz 6: Gain tuning of PID control   PID制御のゲイン調整

Name 氏名: YOSHII Kohei Student ID 学籍番号: s1310044

(1) Ultimate gain method

The next figure is an output when we apply a gain Kc = 100 to a P-control system. We suppose it is at a critical oscillation.

- Read a time-period of oscillation Tc from the figure and fill it in to the table. (1 points)

- Fill out a table for each of gains. (4 points for a whole table)

(1) 限界感度法

次のグラフはあるP制御システムでKc=100を適用したときの結果である．これが限界振動だとする．このとき，

- 図から限界振動時間Tc を読みとり，表に記入せよ(1点)．

- 各制御のゲインの値を表に記入せよ(表全体で4 点)．

| Reading | Kc = 100 | Tc = 0.0045 |  |
| --- | --- | --- | --- |
| Control | KP | TI | TD |
| P | 0.5Kc = 50 |  |  |
| PI | 0.45Kc = 45 | 0.83Tc = 0.003735 |  |
| PID | 0.6Kc = 60 | 0.5Tc = 0.00225 | 0.125Tc = 0.0005625 |

(2) Reaction Curve method

The next figure is a step response of a plant

- Read a slope R and a time instance L from the figure (2 points).

- Fill out a table for each of gains. (3 points for a whole table)

(2) 過渡応答法

次のグラフはある制御対象のステップ応答である．このとき，

- 図からRとLを読みとり，表に記入せよ(2点)．

- 各制御のゲインの値を表に記入せよ(表全体で3 点)．

| Reading | R = 100 | L = 0.0035 |  |
| --- | --- | --- | --- |
| Control | KP | TI | TD |
| P | 1/RL = 2.857 |  |  |
| PI | 0.9/RL = 2.571 | 3.33L = 0.0117 |  |
| PID | 1.2/RL = 3.429 | 2L = 0.007 | 0.5L = 0.00175 |